**Q&A for ITB #2003-001**

1. Will Domestic Material be required for this project?
2. Domestic or foreign material will be acceptable. Best price and availability.
3. What Entity or Agency is Funding this project?
4. This project will be using Federal funds (SLFRF) through the City.
5. Bid Form Item “20”: under the water section is bid item 20 with the description of “4’ bury standard cast iron w/brass nozzles, drain valve area, main valve. This sounds like a fire hydrant. Could you clarify?
6. Yes, it should read fire hydrant.

Q. Bid item reclaimed water pipe 6” C-900 Purple Pipe: Could you clarify the DR rating for this item?

A. The 6” reclaimed water pipe needs to have a DR rating of 18.